## Załącznik_nr_2
Załącznik nr 9
Zadanie nr 2 -Odczynniki biochemiczne i immunochemiczne wraz z dzierżawą analizatora na 48 miesięcy
Część | Lp. | Nazwa produktu | Ilość oznaczeń na 12 miesięcy | Ilość oznaczeń na 48 miesięcy | Jednostka miary | Ilość oferowanych opakowań | Cena jednostkowa netto | Wartość netto | VAT | Cena jednostkowa brutto | Wartość brutto | Producent/ nazwa handlowa
I | 1 | Albumina | 500 | 2000
| 2 | Bilirubina całkowita | 6733 | 26932
| 3 | Bilirubina bezpośrednia | 323 | 1292
| 4 | Cholesterol całkowity | 6733 | 26932
| 5 | Cholesterol HDL bezpośredni | 6266 | 25064
| 6 | Trójglicerydy | 6733 | 26932
| 6 | Kreatynina met. enzymatyczna | 22900 | 91600
| 8 | Kwas moczowy | 2766 | 11064
| 9 | Mocznik | 5853 | 23412
| 10 | Glukoza met.enzymatyczna z heksokinazą | 22110 | 88440
| 11 | Białko całkowite met. biuretowa | 883 | 3532
| 12 | ALT Transaminaza alaninowa | 10260 | 41040
| 13 | AST Transaminaza asparaginowa | 9500 | 38000
| 14 | Amylaza | 5100 | 20400
| 15 | GGTP Gammaglutamylotransferaza | 4446 | 17784
| 16 | ALP fosfataza alkaliczna | 1766 | 7064
| 17 | CK kinaza kreatynowa | 370 | 1480
| 18 | Żelazo | 2000 | 8000
| 19 | UIBC utajona zdolność wiązania żelaza/TIBC | 533 | 2132
| 20 | Wapń całkowity | 2638 | 10552
| 21 | Fosforany nieorganiczne | 1600 | 6400
| 21 | Magnez | 2267 | 9068
| 22 | Sód | 23335 | 93340
| 23 | Potas | 23335 | 93340
| 24 | Chlorki | 20000 | 80000
| 25 | CRP – białko Creaktywne | 20000 | 80000
| 26 | HbA1c hemoglobina glikowana generacja 2 | 12000 | 48000
| 27 | Kwasy żółciowe | 200 | 800
| 28 | Etanol | 550 | 2200
| 29 | Albumina w moczu | 200 | 800
| 30 | Lipaza | 2350 | 9400
| 31 | Białko całkowite w moczu i płynach ustrojowych | 500 | 2000
| 32 | LDH (dehydrogenaza mleczanowa) wg IFCC | 1843 | 7372
| 33 | Amoniak w osoczu krwi | 133 | 532
| 34 | Homocysteina | 167 | 668
| 35 | Materiały kalibracyjne
| 36 | Materiały kontrolne wieloparametrowe i dedykowane
| 37 | Materiały zużywalne
Część | Lp. | Nazwa produktu | Ilość oznaczeń na 12 miesięcy | Ilość oznaczeń na 48 miesięcy | Jednostka miary | Ilość oferowanych opakowań | Cena jednostkowa netto | Wartość netto | VAT | Cena jednostkowa brutto | Wartość brutto | Producent/ nazwa handlowa
II | 1 | TSH 3 generacji | 5667 | 22668
| 2 | Free T4 | 2110 | 8440
| 3 | Free T3 | 1490 | 5960
| 4 | Anty-TPO | 434 | 1736
| 5 | LH | 133 | 532
| 6 | FSH | 233 | 932
| 7 | Estradiol | 240 | 960
| 8 | Beta HCG | 333 | 1332
| 9 | Prolaktyna | 300 | 1200
| 10 | Testosteron | 160 | 640
| 11 | Progesteron | 166 | 664
| 12 | Witamina B12 | 760 | 3040
| 13 | Rubella IgG | 100 | 400
| 14 | Rubella IgM | 66 | 264
| 15 | Toxoplasmoza IgG | 216 | 864
| 16 | Toxoplasmoza IgM | 300 | 1200
| 17 | CA125 | 400 | 1600
| 18 | CA19-9 | 630 | 2520
| 19 | CA15-3 | 180 | 720
| 20 | PSA całkowity | 1700 | 6800
| 21 | CEA | 750 | 3000
| 22 | Witamina D 3 ( 25OH) | 1165 | 4660
| 23 | Insulina | 720 | 2880
| 24 | Kortyzol ( surowica, mocz) | 126 | 504
| 25 | Troponina I HS (wysokoczuła, ilościowo) | 3840 | 15360
| 26 | PCT-Procalcytonina w oparciu o licencję i standaryzację Brahms o liniowości min.100ug/L | 3150 | 12600
| 27 | Anty-HBs p/ciała oznaczane ilościowo | 300 | 1200
| 28 | HBs Ag (antygen) | 400 | 1600
| 29 | HIV COMBO Ag/Ab wykrywający jednocześnie przeciwciała anty HIV 1 anty HIV 2 oraz antygen P24 | 380 | 1520
| 30 | anty-HCV | 500 | 2000
| 31 | Ferrytyna | 333 | 1332
| 32 | Kwas foliowy | 116 | 464
| 33 | SARS CoV 2 p/ciała IgG ilościowo | 1000 | 4000
| 34 | Materiały zużywalne, materiały kontrolne wieloparametrowe , dedykowane i kalibracyjne do podanej ilości badań
|  | Dzierżawa analizatora (opis aparatu zgodnie z Załącznikiem nr 2-2) |  | x | miesiąc | 48
ŁĄCZNIE
| 1 | Wykonawca powinien podać wszystkie odczynniki, materiały kontrolne, materiały kalibracyjne i inne niewymienione materiały niezbędne do wykonania podanej ilości oznaczeń oraz dokonać ich wyceny.
| 2 | Oferowane odczynniki i materiały kontrolne powinny posiadać aktualne karty charakterystyk, które Wykonawca dostarczy wraz z pierwszą dostawą.
| 3 | Wykonawca zapewni ciągłość danej serii materiału kontrolnego przez okres co najmniej 1 go roku
| 4 | Zamawiający wymaga dla oznaczanych parametrów materiałów kontrolnych na co najmniej dwóch poziomach: normalnym i patologicznym
| 5 | Wielkość opakowania i termin przydatności odczynników do użycia powinien być nie krótszy niż 6 miesięcy od daty dostawy
| 6 | Do podanej ilości badań należy doliczyć testy potrzebne do wykonania kontroli oraz kalibracji według wytycznych i metodyki producenta
| 7 | Przyjęto następujący schemat kontroli dla części I:
2 x w tygodniu na różnych poziomach dla ilości testów 100-500
5-6 x tygodniu na różnych poziomach dla ilości testów >500
| 8 | Przyjęto następujący schemat kontroli dla części II:
2 x w tygodniu na różnych poziomach dla ilości testów 100-300
4 x tygodniu na różnych poziomach dla ilości testów >300
| 9 | Ilość odczynników dostosowana do ilości wykonywanych badań i trwałości odczynnika po otwarciu opakowania
| 10 | Zgodnie z Ustawą o Wyrobach medycznych z 20.05.2010 każdy z oferowanych produktów w zależności od klasy wyrobu musi posiadać: Certyfikat jednostki notyfikowanej, Deklaracja Zgodności oraz wpis/zgłoszenie do rejestru Wyrobów medycznych
…………….., dnia ………………… ……………………………………
Podpis
osoby upoważnionej

## Sheet3 (hidden)
Reagents
PN | Description | Tests | Tests | Total Tests | Difference | Tests/kit | Kits per | Qty mini | Price / | Total Price
|  | YEAR X *YEAR X * | YEAR X+1 (A)**YEAR X+1 (A)** | per year X+1 (B)***per year X+1 (B)*** | (A)-(B) | (volume) | year | per year | Kit $ | $
33820 | hTSH Reagent (3rd Gen) | #NAME? | #NAME? | #NAME? | #NAME? | 200 | #NAME? | 6 |  | #NAME?
33800 | Total T4 Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 12 |  | #NAME?
33830 | Total T3 Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33810 | T-Uptake Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33880 | Free T4 Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A13422 | Free T3 Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33860 | Thyroglobulin Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A32898 | Anti-Thyroglobulin II Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 3 |  | #NAME?
A12985 | TPO Ab reagent, 2 x 50 tests | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
35000 | IgE Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33510 | hLH Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33520 | FSH Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33540 | (E2) Estradiol Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A85264 | Total B-hCG 5th IS WHO Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33530 | Prolactin Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33560 | Testosterone Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33550 | Progesterone Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33570 | Estriol Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A10826 | DHEAS Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33211 | AFP reagent, 300 tests incl. Cal set | #NAME? | #NAME? | #NAME? | #NAME? | 300 | #NAME? | 2 |  | #NAME?
A48617 | SHBG | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A36097 | Inhibin A Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A48571 | PAPP-A (removed from Access2) | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A16364 | EPO reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 3 |  | #NAME?
387992 | IF Ab Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 3 |  | #NAME?
33000 | B12 Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 12 |  | #NAME?
A98032 | Folate Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 12 |  | #NAME?
A32493 | sTfR Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 12 |  | #NAME?
33020 | Ferritin Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
34430 | Rubella IgG Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A32937 | Rubella IgM Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A40702 | CMV IgG | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A40705 | CMV IgM | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A31588 | Toxo IgG Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
34470 | Toxo IgM Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33210 | AFP Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
386357 | OV monitor Reagent (CA 125 Ag) | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
387687 | GI monitor Reagent (CA 19.9 Ag) | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 3 |  | #NAME?
387620 | BR monitor Reagent (CA 15.3 Ag) | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 3 |  | #NAME?
37200 | PSA Hybritech Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
37210 | fPSA Hybritech Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A49752 | 2pPSA | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33200 | CEA Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A16369 | IL-6 Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
37300 | Ostase Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A16972 | ipTH Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33580 | hGH Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
B24838 | 25(OH) Vitamin D Reagent | #NAME? | #NAME? | 0 | #NAME? | 100 | 0 | 6 |  | 0
33410 | Insulin Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
33600 | Cortisol Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 12 |  | #NAME?
386371 | CK-MB Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 3 |  | #NAME?
973243 | Myoglobin Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 3 |  | #NAME?
A98143 | AccuTnI+3 Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 3 |  | #NAME?
33710 | Digoxin Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 12 |  | #NAME?
34200 | HAV Ab Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
34210 | HAV IgM Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A24296 | HBsAb Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A24291 | HBsAg Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A24295 | HBsAg confirmatory Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
34240 | HBcAb Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
34250 | HBc-IgM Reagent | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | #NAME?
A59428 | HIV Combo Reagent (BIORAD) | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | See Biorad
34330 | HCV plus Reagent (BIORAD) | #NAME? | #NAME? | #NAME? | #NAME? | 100 | #NAME? | 6 |  | See Biorad
Total parameters | Total tests | #NAME? | #NAME? | #NAME? | #NAME? | 0 | #NAME?
| Total tests price | [8 empty] | #NAME?
Calibrators and Consumables
33825 | TSH (3rd Gen.) Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33805 | Total T4 Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33835 | Total T3 Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
33815 | T-Uptake Calibrator 6x 1 level, 1 ml / vial | [5 empty] | #NAME? | 5 |  | #NAME?
33885 | Free T4 Calibrator Set, 2.5 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
A13430 | Free T3 Calibrator Set, 2.5 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
33865 | Thyroglobulin Calibrator Set, 2 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33866 | Thyroglobulin diluent 14 ml/vial | [5 empty] | #NAME? | 1 |  | #NAME?
A36920 | Anti-Thyroglobulin II Calibr.Set 2.5 ml /vial, S0 4 ml | [5 empty] | #NAME? | 2 |  | #NAME?
A18227 | TPO Ab calibrator set S0 - S5, 2 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
35005 | IgE Calibrator Set (7), 4 ml / vial, S0 6 ml | [5 empty] | #NAME? | 2 |  | #NAME?
35006 | IgE diluent, 4 ml/vial | [5 empty] | #NAME? | 1 |  | #NAME?
33515 | LH Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33525 | FSH Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33545 | (E2) Estradiol Calibrator Set, 2.5 ml/vial, S0 4 ml | [5 empty] | #NAME? | 5 |  | #NAME?
B11754 | Total B-hCG 5th IS WHO Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33535 | Prolactin Calibrator Set, 2.5 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
33565 | Testosterone Calibrator Set, 2.5 ml / vial | [5 empty] | #NAME? | 5 |  | #NAME?
33555 | Progesterone Calibrator Set, 2.5 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
33556 | Progesterone diluent, 4 ml/vial | [5 empty] | #NAME? | 2 |  | #NAME?
33575 | Estriol Calibrator Set (7), 2.5 ml/vial, S0 4 ml | [5 empty] | #NAME? | 3 |  | #NAME?
A10827 | DHEAS, Calibrator Set, 2 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
A48618 | SHBG Calibrator 1 X 1.0 ml/vial, 6x | [5 empty] | #NAME? | 2 |  | #NAME?
A48619 | SHBG QC 3 levels 2 X 2 ml/vial | [5 empty] | #NAME? | 4 |  | #NAME?
A36098 | Inhibin A Calibrator set, 2.5 ml/vial | [5 empty] | #NAME? | 3 |  | #NAME?
A36100 | Inhibin A QC, 3 levels, 2 vials/level, 2.5 ml/vial | [5 empty] | #NAME? | 3 |  | #NAME?
A48572 | PAPP-A calibrator 6 x 4 ml/vial (removed from Access2) | [5 empty] | #NAME? | 3 |  | #NAME?
A48573 | PAPP-A QC 3 level 2 x 2.5 ml/vial (removed from Access2) | [5 empty] | #NAME? | 4 |  | #NAME?
A16365 | EPO calibrator Set 2.5 ml / vial, S0 10 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
387993 | IF Ab Calibrator S0, 2 x 4 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
387999 | IF Ab Control , 2 levels 3x 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33005 | B12 Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
33006 | B12 diluent, 1 x 4 ml | [5 empty] | #NAME? | 1 |  | #NAME?
A98033 | Folate Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
33016 | Folate diluent, 1 x 4 ml | [5 empty] | #NAME? | 1 |  | #NAME?
A14206 | RBC Folate Lyse solution | [5 empty] | #NAME? | 2 |  | #NAME?
A32494 | sTfR Calibrator set, 2.5 ml/ vial | [5 empty] | #NAME? | 3 |  | #NAME?
B11057 | sTrF QC, 2 level, 2 vials/ level | [5 empty] | #NAME? | 2 |  | #NAME?
33025 | Ferritin Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
34435 | Rubella IgG Calibrator Set, 1 ml / vial | [5 empty] | #NAME? | 6 |  | #NAME?
34439 | Rubella IgG QC Set, 2 x 2.5 ml / vial, 2 levels | [5 empty] | #NAME? | 7 |  | #NAME?
34445 | Rubella IgM Calibrator Set (4), 1 ml / vial | [5 empty] | #NAME? | 6 |  | #NAME?
34449 | Rubella IgM QC Set, 2 x 2.5 ml / vial, 2 levels | [5 empty] | #NAME? | 7 |  | #NAME?
A40703 | CMV IgG Calibrator 1.0 ml / vial, 6x | [5 empty] | #NAME? | 6 |  | #NAME?
A40704 | CMV IgG QC 2 levels 3 x 2.5 ml | [5 empty] | #NAME? | 7 |  | #NAME?
A40706 | CMV IgM Calibrator 1.0 ml / vial, 6x | [5 empty] | #NAME? | 5 |  | #NAME?
A40707 | CMV IgM QC 2 levels 3 x 2.5 ml | [5 empty] | #NAME? | 5 |  | #NAME?
A31589 | Toxo IgG Calibrator Set, 1 ml / vial | [5 empty] | #NAME? | 5 |  | #NAME?
A31590 | Toxo IgG QC Set, 2 levels, 3 x 2.5 ml / level | [5 empty] | #NAME? | 5 |  | #NAME?
34475 | Toxo IgM II Calibrator Set, 1.5 ml / vial 2 levels | [5 empty] | #NAME? | 5 |  | #NAME?
34479 | Toxo IgM II QC Set, 2 level, 3 x 3.5 ml / level | [5 empty] | #NAME? | 5 |  | #NAME?
33215 | AFP Calibrator Set (7), 2.5 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
33216 | AFP Sample diluent, 4 ml vial | [5 empty] | #NAME? | 2 |  | #NAME?
33219 | AFP QC control 3 levels, 2 x 4ml /level | [5 empty] | #NAME? | 7 |  | #NAME?
386358 | OV monitor calibrator 2.5 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
387688 | GI monitor Calibrator 2.5 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
387647 | BR monitor Calibrator 2.5 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
37205 | PSA Calibrator Set, 2.5 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
37206 | PSA Diluent, 1 x 4 ml | [5 empty] | #NAME? | 1 |  | #NAME?
37209 | PSA QC, 3 levels 1 x 5 ml / level | [5 empty] | #NAME? | 11 |  | #NAME?
37215 | fPSA Calibrator set, 2.5 ml / vial | [5 empty] | #NAME? | 3 |  | #NAME?
37219 | fPSA QC set, 2 levels, 1 x 5 ml / level | [5 empty] | #NAME? | 6 |  | #NAME?
A49753 | p2PSA Calibrator 7 x 2.1 ml | [5 empty] | #NAME? | 3 |  | #NAME?
A56934 | p2PSA QC 3 levels 1x 5 ml | [5 empty] | #NAME? | 15 |  | #NAME?
33205 | CEA Calibrator Set, 2.5 ml/vial | [5 empty] | #NAME? | 3 |  | #NAME?
33206 | CEA diluent, 1 x 4 ml | [5 empty] | #NAME? | 1 |  | #NAME?
33209 | CEA QC, 2 levels, 3 x 2.5 ml/level | [5 empty] | #NAME? | 7 |  | #NAME?
A16370 | IL-6 Calibrator Set, 2.5 ml / vial, S0 4 ml / vial | [5 empty] | #NAME? | 4 |  | #NAME?
A16371 | IL-6 QC Set, tri -level: 2 x 2.5 ml / vial | [5 empty] | #NAME? | 13 |  | #NAME?
37305 | Ostase Calibrator Set, 2.5 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
37309 | Ostase QC 2 levels, 4.0 ml / vial | [5 empty] | #NAME? | 13 |  | #NAME?
A16953 | pTH Calibrator 6x 1 level, 1 ml / vial, S0 4 ml / vial | [5 empty] | #NAME? | 4 |  | #NAME?
33585 | hGH Calibrator Set Lyophilized, 2 ml /vial | [5 empty] | #NAME? | 2 |  | #NAME?
B24839 | 25(OH) Vitamin D Calibrator 1.4 ml/vial | [5 empty] | #NAME? | 12 |  | #NAME?
33415 | Insulin Calibrator Set, 2 ml / vial, lyophilized | [5 empty] | #NAME? | 3 |  | #NAME?
33605 | Cortisol Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33606 | Cortisol diluent 1 x 4 ml | [5 empty] | #NAME? | 1 |  | #NAME?
386372 | CK-MB Calibrator Set, 2 ml / vial | [5 empty] | #NAME? | 4 |  | #NAME?
973244 | Myoglobin Calibrator Set, 1 ml / vial | [5 empty] | #NAME? | 6 |  | #NAME?
A98144 | Accu TnI+3 Calibrator Set, 1 ml / vial | [5 empty] | #NAME? | 4 |  | #NAME?
33715 | Digoxin Calibrator Set, 4 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
33716 | Digoxin diluent, 1 x 4 ml | [5 empty] | #NAME? | 1 |  | #NAME?
34205 | HAV Ab calibrator Set, 2 ml/vial | [5 empty] | #NAME? | 3 |  | #NAME?
34209 | HAV Ab QC, 3.5 ml/vial | [5 empty] | #NAME? | 5 |  | #NAME?
34215 | HAV IgM (calibrator) Controls, 1 ml / vial | [5 empty] | #NAME? | 5 |  | #NAME?
34219 | HAV IgM QC, 3x2.5. ml / vial, 2 levels | [5 empty] | #NAME? | 5 |  | #NAME?
A24297 | HBsAb Calibrator Set, 2.5 ml / vial | [5 empty] | #NAME? | 2 |  | #NAME?
A24298 | HBsAb QC set, 2 level 3 vial / level 3.5 ml / vial | [5 empty] | #NAME? | 12 |  | #NAME?
A24292 | HBsAg (calibrator) Controls, 3.7 ml / Vial | [5 empty] | #NAME? | 3 |  | #NAME?
A24294 | HBsAg QC, 2x4 ml / vial, 2 levels | [5 empty] | #NAME? | 10 |  | #NAME?
34245 | HBcAb (calibrator) Controls, 1 ml / vial | [5 empty] | #NAME? | 5 |  | #NAME?
34249 | HBcAb QC, 2 ml / vial (for 400 runs or 30 days) | [5 empty] | #NAME? | 9 |  | #NAME?
34255 | HBc-IgM (calibrator) Controls, 2 x 1 ml | [5 empty] | #NAME? | 5 |  | #NAME?
34259 | HBc-IgM QC, 2 x 3 2.5 ml | [5 empty] | #NAME? | 7 |  | #NAME?
A59429 | HIV Combo (calibrator) , 3.5 ml x 2 Levels (BIORAD) | [5 empty] | #NAME? | 2 |  | See Biorad
A59430 | HIV Combo QC set, 4.3 ml x6 ,2 levels (BIORAD) | [5 empty] | #NAME? | 2 |  | See Biorad
34335 | HCV (calibrator) , 1 ml x 2 levels (BIORAD) | [5 empty] | #NAME? | 2 |  | See Biorad
34339 | HCV QC set, 2.5 ml x6 , 2 levels (BIORAD) | [5 empty] | #NAME? | 2 |  | See Biorad
81904 | Waste Bags (20x) 20 x 300 = 6000 tests | [5 empty] | #NAME? | 2 |  | #NAME?
81906 | Substrate (4 x 130ml) 4 x 600 = 2400 tests | [5 empty] | #NAME? | 5 |  | #NAME?
A16792 | Wash Buffer (4x 2l) 4 x166 = ~600 tests | [5 empty] | #NAME? | 10 |  | #NAME?
81908 | Sample Diluent A 1 x 4ml | [5 empty] | 1 | 1 |  | 0
81910 | System Check Solution, 6 x 4 ml | [5 empty] | 4 | 4 |  | 0
81901 | Reaction Vessels (16 x 98) = 1568 tests | [5 empty] | #NAME? | 5 |  | #NAME?
81902 | Sample cups 2 ml, 1000x = 1000 tests | [5 empty] | 4 | 4 |  | 0
973001 | Brush DISP. ASPIRATE 10/pkg | [5 empty] | 5 | 5 |  | 0
81911 | Contrad 70, 1 l | [5 empty] | 1 | 1 |  | 0
81912 | Citranox , 1 gallon | [5 empty] | 1 | 1 |  | 0
| Total Calib., Ctrs and supplies | [8 empty] | #NAME?
| Total cost | [8 empty] | #NAME?
| COST/TEST | [8 empty] | #NAME?
| COST/RESULT | [8 empty] | #NAME?
[5 empty] | % Estimated Workload increase |  |  | 0%
| * Workload as per your definition |  |  |  | % of Rerun = |  |  | 0%
| ** Workload Year X + Estimated Workload increase |  |  |  | Nb of Controls / Day = |  |  | 0.34
***Calculation includes the % of reruns and yearly controls
**** Need only to be filled in if 2 ml cups are used for sample processing. If not the minimum amount is 1.
|  |  |  | % Discount | 0% |  |  |  | Total | #NAME?
[9 empty] | per test | #NAME?
[9 empty] | per result | #NAME?
Note on A26: Author: Not yet released for all geographies
Note on A45: Author: Not yet released for all geographies
Note on A93: Author: Mandatory , as BioRad does not have this assay available in their QC panal
Note on A95: Author: Mandatory , as BioRad does not have this assay available in their QC panal
Note on A97: Author: Mandatory , as BioRad does not have this assay available in their QC panal
Note on A100: Author: Mandatory , as BioRad does not have this assay available in their QC panal
Note on A105: Author: Should be included if running RBC Folate
Note on A107: Author: Optional if not running in BioRad QC
Note on A110: Author: Mandatory
Note on A112: Author: Mandatory
Note on A114: Author: Mandatory
Note on A116: Author: Mandatory
Note on A118: Author: Mandatory
Note on A120: Author: Mandatory
Note on A123: Author: Optional if not running in BioRad QC
Note on A129: Author: Optional if not running in BioRad QC
Note on A131: Author: Optional if not running in BioRad QC
Note on A133: Author: Mandatory , as BioRad does not have this assay available in their QC panal
Note on A140: Author: Mandatory
Note on A153: Author: Mandatory
Note on A155: Author: Mandatory
Note on A157: Author: Mandatory
Note on A159: Author: Mandatory
Note on A161: Author: Mandatory
Note on A163: Author: Mandatory
Note on A165: Author: Mandatory
Note on A167: Author: Mandatory

## Sheet4 (hidden)
Access2 |  | Assuming one year = 7 days per week and 52 weeks per year = 365 days
Cycle | RV's | RV / year | Substrate | Substrate / year | Wash Buffer | Buffer / year | Waste Bag | Bags / year
Substrate Prime (1 cycle) | 1 | 365 | 1.3 ml | 475 ml | 2 ml | 730 ml | 2 | 2
Main Pipettor Prime (1 cycle) | 0 | 0 | 0 | 0 | 9.6 ml | 3504 ml | 0 | 0
Dispense Probes | 3 | 1095 | 0 | 0 | 1.5 ml | 548 ml | 4 | 4
*Special Clean | 3 | 1095 | 0 | 0 | 120 ml | 6240 ml | 4 | 4
Daily Clean Probes |  |  | 0 | 0 | 60 ml | 21900ml
**System Check | 35 | 1820 | 7 ml | 364 ml | 154 ml | 8008 ml | 6 | 6
Utility assay (4 hourly wake-up if "on") | 3 | 1095 | 0.6 ml | 1314 ml | 15 ml | 32850ml | 4 | 4
***Utility assay (as end of run) | 3 | 1095 | 0.2 ml | 156 ml | 5.4 ml | 3942 ml | 4 | 4
One step assay (average) | 1 or 2 |  | 0.2 ml (1 test) |  | 7.4ml |  | 1 or 2
Two step assay (average) | 1 or 2 |  | 0.2 ml (1 test) |  | 14.8 ml |  | 1 or 2
| Total | 6565 |  | 2310 |  | 77722 |  | 24
| Units | 4.1869 |  | 4.8125 |  | 9.7152 |  | 1.2
Red Font Not included (optional) |  | P/N 81901 |  | P/N 81906 |  | P/N A16792 |  | P/N 81904
*Assumes daily special clean (B12)
**Assumes on average 1 system checks passed per week - Wash buffer guesstimate as no spec yet defined
*** Utility Assay - Wash buffer guesstimate as no spec yet defined

## Sheet5 (hidden)
Calculation for one year assuming testing for 7 days a week 52 weeks a year plus totals per calculation base sheet
Instructions:
Fill in the number of different assays being run in cell C9 (e.g. TSH, FT4, Vitamin B12, Folate, Ferritin, LH, FSH = 7).
Fill in the total number of tests (patient tests) per year in cell C10. The sheet will automatically calculate the consumables required.
Patient Tests, Calibration and Maintenance : consumables included to run all patient tests, calibrations and maintenance
Total : Patient Tests, Calibrations, Maintenance and daily tri-level QC for all parameters, i.e. consumables for total tests
| Number of different assays : | 0
| Total Number of tests : | #NAME?
p/n | Consumable description & packaging | Patient tests, Calibration & Maintenance ONLY | Additional needed for daily QC - tri-level per assay | Total: Patient Tests, Calibrations, Maintenance, & Daily QC
81904 | Waste Bags (20x) 20 x 300 = 6000 tests | #NAME? | 0 | #NAME? | v
81906 | Substrate (4 x 130ml) 4 x 600 = 2400 tests | #NAME? | 0 | #NAME? | v
A16792 | Wash Buffer (4x 2l) 4 x166 = ~600 tests | #NAME? | 0 | #NAME? | v
81901 | Reaction Vessels (16 x 98) = 1568 tests | #NAME? | 0 | #NAME? | v
81902 | Sample cups 2 ml, 1000x = 1000 tests | 2 | 2 | 4 | v
81911 | Contrad 70, 1 l | 1 |  | 1 | v
81912 | Citranox , 1 gallon | 1 |  | 1 | v
81910 | System Check Solution, 6 x 4 ml | 4 |  | 4 | v

## Sheet2 (hidden)
metoda kalkulacji liczby
opak. odczynników
ilość
stabilność

## Sheet7 (hidden)
| Stabilność kalibracji | Ilość testów na jedna kalibrację | Sample Pickup (ul) |  | Ilość testów na kalibracje/rok | Zawartość opakowania | Objętość na rok (ml) | ilość opakowań kalibratora/rok
[5 empty] | 365 |  | 1000
amh | 31 | 14 | 20 |  | 164.8387 | 6 @ 1 x 2 mL | 3.2968 | 1.6484
kortyzol | 28 | 12 | 25 |  | 156.4286 | 6 @ 1 x 4 mL | 3.9107 | 0.97768
IgE | 28 | 14 | 10 |  | 182.5 | S0 @ 1 x 6 mL S1 - S6 @ 1 x 4 mL | 1.825 | 0.45625
Erytropoetyna | 28 | 12 | 85 |  | 156.4286 | S0 @ 1 x 10 mL S1-S5 @ 1 x 2.5 mL | 13.2964 | 5.3186
[5 empty] | #DIV/0! |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! |  | #DIV/0! | #DIV/0!
365
| Stabilność kalibracji | stab kalibratora |  |  | ilość opakowań kalibratora/rok
amh | 31 | 90 | 3 | 93 | 3.9247
kortyzol | 28 | do daty ważn |  |  | 1
IgE | 28 | do daty ważn |  |  | 1
Erytropoetyna | 28 | 90 | 4 | 112 | 3.2589
kwas foliowy | 28 | 90 | 4 | 112 | 3.2589
Czynnik wewnętrzny | 14 | 56 | 4 | 56 | 6.5179
Czynnik wewnętrzny | 14 | 56 | 4 |  |  |  | 56 | 6.5179

## roboczy (hidden)
Pakiet nr 5 -Odczynniki do immunodiagnostyki wraz z dzierżawą analizatora
[17 empty] | odczynnik |  | kalibracja
Lp. | Nazwa produktu | ilość badań | Ilość | Cena netto | VAT (%) | Cena brutto | Wartość netto | Wartość brutto | Producent i numer katalogowy |  | kontrole |  |  |  |  | liczba ozn/rok | stabilność na pokładzie | liczba op wg stabilności | stabilność
1 | Antygen HBS | 19500 |  | 300 | 8% | 324 | 0 | 0 | Beckman Coulter | A24291 | Access HBS AG QC Kit
2 | Anty-TG | 500 |  | 300 | 8% | 324 | 0 | 0 | Beckman Coulter | A32898 | 364 Speciality IA Liq. 1
3 | Anty-TPO | 1000 |  | 300 | 8% | 324 | 0 | 0 | Beckman Coulter | A12985 | 364 Speciality IA Liq. 1
4 | BNP | 110 |  | 3840 | 8% | 4147.2 | 0 | 0 | Alere* | 98200 | Triage BNP Controls | Liquichek Cardiac Markers Plus LT Control, Level 1 (6 x 3 mLs)
5 | f PSA | 650 |  | 400 | 8% | 432 | 0 | 0 | Beckman Coulter | 37210 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 25
6 | f T3 | 5600 |  | 230 | 8% | 248.4 | 0 | 0 | Beckman Coulter | A13422 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 55
7 | f T4 | 6672 |  | 230 | 8% | 248.4 | 0 | 0 | Beckman Coulter | 33880 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 30
8 | Kortyzol | 1080 |  | 300 | 8% | 324 | 0 | 0 | Beckman Coulter | 33600 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 25
9 | Przeciwciała HCV | 7740 |  | 600 | 8% | 648 | 0 | 0 | Beckman Coulter | 34330 | HCV AB QC
10 | t PSA | 9684 |  | 280 | 8% | 302.4 | 0 | 0 | Beckman Coulter | 37200 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 25
11 | TSH III GENERACJI | 21616 |  | 200 | 8% | 216 | 0 | 0 | Beckman Coulter | B63284 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 55
12 | t T3 | 130 |  | 300 | 8% | 324 | 0 | 0 | Beckman Coulter | 33830 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 55 | tt3 | 43.3333 | 56 | 6.5179 | 14
13 | t T4 | 150 |  | 300 | 8% | 324 | 0 | 0 | Beckman Coulter | 33800 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 30
14 | Estradiol | 180 |  | 220 | 8% | 237.6 | 0 | 0 | Beckman Coulter | 33540 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 35
15 | FSH | 132 |  | 220 | 8% | 237.6 | 0 | 0 | Beckman Coulter | 33520 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 25
16 | LH | 108 |  | 220 | 8% | 237.6 | 0 | 0 | Beckman Coulter | 33510 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 55
17 | Progesteron | 132 |  | 220 | 8% | 237.6 | 0 | 0 | Beckman Coulter | 33550 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 20
18 | Prolactin | 480 |  | 220 | 8% | 237.6 | 0 | 0 | Beckman Coulter | 33530 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 25
19 | Testosteron | 504 |  | 220 | 8% | 237.6 | 0 | 0 | Beckman Coulter | 33560 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 20
20 | Troponina I | 208 |  | 450 | 8% | 486 | 0 | 0 | Beckman Coulter | A98143 | Liquichek Cardiac Markers Plus LT Control, Level 1 (6 x 3 mLs)
21 | Witamina B12 | 1452 |  |  | 8% | 0 | 0 | 0 | Beckman Coulter | 33000 | Liquicheck Immunoassay Plus, Level 1 |  | 730 | 45
22 | Test potwierdzenia Hbs | 550 |  |  | 8% | 0 | 0 | 0 | Beckman Coulter | A24295 | Access HBs Ag Confirmatory QC Kit |  |  | 525 | objętość uL na 1 poziom/1 kontrolę |  |  |  | HBs Conf | 2 x 110 ul | 220 ul | kontrola: | 12 ml jednego poziomu | HBsAg | 110 ul | 110 ul | kontrola: | 12 ml jednego poziomu
23 | Dzierżawa | 36 miesięcy | [9 empty] | rok | 10950 | 191625 | objętość na 1 rok w uL | [5 empty] | 0,22 ml | zużycie kontroli 1 poziomu |  |  |  | 0,11 ml | zużycie kontroli 1 poziomu
24 | Materiały zużywalne, kalibratory, kontrole i wszystkie inne materiały niezbędne do wykkonania wyżej wymienionej ilości w czsie trwania umowy | [10 empty] | 3 lata | 32850 | 191.625 | ml na 1 rok na 1 poziom | [5 empty] | 80.3 | ml kontroli na 1 poziom |  |  |  | 40.15 | ml kontroli na 1 poziom
Materiały zużywalne, kalibratory, kontrole | [13 empty] | 12 x 5 ml = 60 ml - 1 opak | [6 empty] | 6.6917 | opak 1 poziomu na 1 rok |  |  |  | 3.3458 | opak 1 poziomu na 1 rok
[21 empty] | 20.075 | na 3 lata |  |  |  | 10.0375 | na 3 lata
25 | ACCESS WASTE BAGS 20/BOX |  | 39 | 140 | 23% | 172.2 | 5460 | 6715.8 | 81904 | Beckman Coulter |  |  |  | 3.1833 | wychodzi 3,18 opak/rok na 1 poziom
26 | ACCESS SUBSTRATE 4 X 130ML |  | 75 | 150 | 8% | 162 | 11250 | 12150 | 81906 | Beckman Coulter
27 | ACCESS Wash Buffer II, 4 x 1950 mL |  | 240 | 120 | 8% | 129.6 | 28800 | 31104 | A16792 | Beckman Coulter
28 | ACCESS SAMPLE DILUENT A, 1 X 4ML |  | 3 | 70 | 8% | 75.6 | 210 | 226.8 | 81908 | Beckman Coulter
29 | ACCESS SYSTEM CHECK SOLN, 6 X 4M |  | 12 | 65 | 8% | 70.2 | 780 | 842.4 | 81910 | Beckman Coulter
30 | ACCESS REACTION VESSELS 16X98 |  | 144 | 140 | 8% | 151.2 | 20160 | 21772.8 | 81901 | Beckman Coulter
31 | ACCESS SAMPLE CUPS 1000X2ML |  | 18 | 50 | 8% | 54 | 900 | 972 | 81902 | Beckman Coulter
32 | SAMPLE CUPS 0.5 ML |  | 6 | 290 | 23% | 356.7 | 1740 | 2140.2 | 651412 | Beckman Coulter
33 | BRUSH, DISP. ASPIRATE 10/PKG |  | 15 | 95 | 23% | 116.85 | 1425 | 1752.75 | 973001 | Beckman Coulter
34 | CONTRAD 70, 1 X 1 LITER |  | 3 | 95 | 8% | 102.6 | 285 | 307.8 | 81911 | Beckman Coulter
35 | CITRANOX, 1 X 1 GALLON |  | 3 | 190 | 8% | 205.2 | 570 | 615.6 | 81912 | Beckman Coulter
36 | HCV AB CALIBRATORS |  | 6 | 200 | 8% | 216 | 1200 | 1296 | 34335 | Beckman Coulter
37 | Triage BNP Calibrators |  | 6 | 324 | 8% | 349.92 | 1944 | 2099.52 | 98202 | Alere*
38 | ACCESS HTSH CALIBRATORS |  | 6 | 175 | 8% | 189 | 1050 | 1134 | 33825 | Beckman Coulter
39 | ACCESS TOTAL T4 CALS |  | 6 | 150 | 8% | 162 | 900 | 972 | 33805 | Beckman Coulter
40 | ACCESS TOTAL T3 CALS S0-S5 |  | 9 | 170 | 8% | 183.6 | 1530 | 1652.4 | 33835 | Beckman Coulter | kalkulator: 3/rok; katalog: 2/rok
41 | ACCESS FREE T4 CALS 50-55 |  | 9 | 150 | 8% | 162 | 1350 | 1458 | 33885 | Beckman Coulter
42 | ACCESS FT3 CALS S0-S5 |  | 9 | 260 | 8% | 280.8 | 2340 | 2527.2 | A13430 | Beckman Coulter
43 | Access Thyroglobulin Antibody II Calibrators |  | 6 | 250 | 8% | 270 | 1500 | 1620 | A36920 | Beckman Coulter
44 | ACCESS TPOAb CAL Kit S0-55 |  | 9 | 400 | 8% | 432 | 3600 | 3888 | A18227 | Beckman Coulter
45 | ACCESS LH CALIBRATOR |  | 6 | 150 | 8% | 162 | 900 | 972 | 33515 | Beckman Coulter
46 | ACCESS FSH CALIBRATORS |  | 6 | 350 | 8% | 378 | 2100 | 2268 | 33525 | Beckman Coulter
47 | ACCESS ESTRADIOL CAL S0-S5 |  | 15 | 150 | 8% | 162 | 2250 | 2430 | 33545 | Beckman Coulter
48 | TBhCG Calibrators S0-S5 |  | 6 | 150 | 8% | 162 | 900 | 972 | B11754 | Beckman Coulter
49 | ACCESS PROLACTN CALS |  | 9 | 220 | 8% | 237.6 | 1980 | 2138.4 | 33535 | Beckman Coulter
50 | ACCESS TESTOSTERONE CAL, S0-S5 |  | 9 | 150 | 8% | 162 | 1350 | 1458 | 33565 | Beckman Coulter
51 | ACCESS PROGESTERONE CAL |  | 12 | 150 | 8% | 162 | 1800 | 1944 | 33555 | Beckman Coulter
52 | ACCESS HYBRITECH PSA CAL KIT |  | 9 | 150 | 8% | 162 | 1350 | 1458 | 37205 | Beckman Coulter
53 | ACCESS HYBRITECH FREE PSA CAL KIT |  | 9 | 150 | 8% | 162 | 1350 | 1458 | 37215 | Beckman Coulter
54 | ACCESS CORTISOL CALS S0-S5 |  | 6 | 150 | 8% | 162 | 900 | 972 | 33605 | Beckman Coulter
55 | AccuTnI+3 for use on Access Cals S0-S5 |  | 12 | 150 | 8% | 162 | 1800 | 1944 | A98144 | Beckman Coulter
56 | Access HBS AG Calibrator Kit |  | 12 | 300 | 8% | 324 | 3600 | 3888 | A24292 | Beckman Coulter
57 | Access Vitamin B12 Calibrator Kit |  | 9 | 226 | 8% | 244.08 | 2034 | 2196.72 | 33005 | Beckman Coulter
58 | Access HBs Ag Confirmatory Calibrator Kit |  | 12 | 478 | 8% | 516.24 | 5736 | 6194.88 | A24292 | Beckman Coulter
59 | HCV AB QC |  | 15 | 300 | 8% | 324 | 4500 | 4860 | 34339 | Beckman Coulter
60 | Triage BNP Controls |  | 15 | 357 | 8% | 385.56 | 5355 | 5783.4 | 98201 | Alere*
61 | Access HBS AG QC Kit |  | 40 | 450 | 8% | 486 | 18000 | 19440 | A24294 | Beckman Coulter
62 | Access HBs Ag Confirmatory QC Kit |  | 12 | 603 | 8% | 651.24 | 7236 | 7814.88 | A24294 | Beckman Coulter
62 | Liquicheck Immunoassay Plus, Level 1 |  | 12 | 1200 | 8% | 1296 | 14400 | 15552 | A49928/361 | Bio-Rad
63 | Liquicheck Immunoassay Plus, Level 3 |  | 12 | 1200 | 8% | 1296 | 14400 | 15552 | A49930/363 | Bio-Rad
64 | 364 Speciality IA Liq. 1 |  | 6 | 1300 | 8% | 1404 | 7800 | 8424 | A32415/364 | Bio-Rad
65 | 366 Speciality IA Liq. 3 |  | 6 | 1300 | 8% | 1404 | 7800 | 8424 | A32505/366 | Bio-Rad
66 | Liquichek Cardiac Markers Plus LT Control, Level 1 (6 x 3 mLs) |  | 6 | 460 | 8% | 496.8 | 2760 | 2980.8 | A56557/146 | Bio-Rad | Czy ta kontrola jest potrzebna? Jest już Triage BNP
67 | Liquichek Cardiac Markers Plus LT Control, Level 3 (6x 3 mLs) |  | 6 | 460 | 8% | 496.8 | 2760 | 2980.8 | A83593/148 | Bio-Rad | Czy ta kontrola jest potrzebna? Jest już Triage BNP
[7 empty] | 200055 | 217353.15
* Oferta partnera konsorcjum firmy Werfen